## AGT 3501 RaSB se

single phase gen-set

ALTERNATOR			NSM / MECC ALTE

Type:					synchronous, single phase, brushless

Max. power:				3.0 kVA

Cos Ø:				1

ENGINE				RATO

Type:					OHV, 1 cylinder, 4 stroke, air cooled

Model:				R 210

Displacement:			212 cm3

Piston stroke x diameter:		70mm x 55mm

Max. power:				7 HP

Compression ratio:			9:1

Fuel:					unleaded gasoline

Fuel tank capacity:			3.6 l

Starting system:			recoil

Consumption:			313 g/kWh

gen-set

Voltage:				230 V

Frequency:				50 Hz

Max. output:			3,0 kVA

Speed:				3.000 rpm

Dimensions:			600x400x450 mm(L x l x h)

Weight:				43 kg

Standard equipment:		2 single phase 16 A schu-ko sockets

Thermal contact breaker

Oil level sensor